Chapter I LDMStudio Installation

REMARKS: Please close your antivirus programs before the installation, in case of wrong warnings from your antivirus programs.

- Contents in the Disc:

LDMStudio: Packed Program, please just copy it to your computer. Installation is not needed here;

LDMStudio_setup: Installation Program;

readme.docx:	Installation Instruction in 2007 version Words;

readme.pdf: Installation Instruction in .pdf.

- Software Installation

  - Open the folder LDMStudio_setup, double click setup.exe to start the installing

  - Click “Next>” when you get the below interface;

  - Enter the user name and company name, and then click “Next>”

  - Click “Complete”, the program will choose a default path for the installation; we choose “Custom” and click “Next>” for example.

  - Click Browse to revise the installing path, and then click “Nest>”.

  - Click “Next>” to continue.

  - Click “Install” to start the installation.

  - Click “Finish”. The Installation is completed.

- Program Uninstallation

  - Installation and Uninstallation is the same file. Open folder LDMStudio_setup, double click setup.exe to start uninstalling.

  - Select “Remove” and then click “Next>”.

  - Click “Y” when you get the below interface.

  - Click “Finish” to end the uninstalling.

Chapter II Program Instruction

- Connect the meter with PC.

  - Double click the icon LDMStudio to run the program

  - Interface of the Program

  - Connect the meter and PC with USD connector.

  - “Connected OK” will be shown at the left bottom of the interface when the connection is successful. The buttons in the interface can be operated.

- Opertation

  - Obtain the measuring data.

Click “Read” once, laser release, click “Read” again to get the result.

  - Clear up the measuring data.

Click “Clear” to clear up the data on the screen.

  - Obtain the measuring record.

Click “Export Records” to deliver the measuring records to the program.

  - Click “Export to Excel”, revise the file name and path in the popup and then click “save” to upload the measuring records to PC in .xlsx file.

  - Print the records.

    - Press “Print” after uploading.

    - Click “OK” to preview.

    - Preview Interface

    - Click “Print”.

    - Click “OK” for printing.